## Load table - Winter
Basic Off-grid Load table
| Average Daily Consumption (kWh) |  |  |  |  | Winter
Qty # | Appliance | Power | Average |  | Total Winter | Comments
|  |  | Ave Run Time | Daily Energy | 6 months
|  | W | hr per day | kWh | 180 days (kWh)
Adjust Quantity |  | Adjust if required | Please adjust this column
Kitchen
1 | Efficient Fridge | 125 | 24 | 1.25 | 225 | As per Fridge Rating
1 | Microwave | 1200 | 0.2 | 0.24 | 43.2
1 | Toaster | 900 | 0.1 | 0.09 | 16.2
1 | Elec Kettle | 2400 | 0.1 | 0.24 | 43.2
0 | Elec Oven | 2000 | 0.5 | 0 |  | High consumption
4 | LED Lights | 10 | 5 | 0.2 | 36
Laundry & bathroom & Hot water
0.5 | Washing machine | 650 | 0.5 | 0.1625 | 29.25 | High Surge load
1 | Water Pump (off-grid) | 1100 | 1 | 1.1 | 198 | High Surge load
4 | LED Lights | 6 | 1.5 | 0.036 | 6.48
Lounge/Entertainment
1 | TV LED | 100 | 4 | 0.4 | 72
1 | Computer Laptop | 45 | 4 | 0.18 | 32.4
1 | Modem | 8 | 24 | 0.192 | 34.56
0 | Reverse cycle A/C | 1250 | 5 | 0 |  | High consumption
6 | LED Lights | 10 | 4 | 0.24 | 43.2
Bedrooms
2 | LED Lights | 10 | 2 | 0.04 | 7.2
0 | LED Lights | 10 | 2 | 0 | 0
| TOTAL AC - Daily load |  |  | 4.3705 | 786.69 | kWh per day
| Battery System Voltage = | 24 | V | 182.1042 |  | Ah used per day
For battery and solar sizing, try the interactive Off-grid Load Calculator.

## Load table - Summer
Basic Off-grid Load table
| Average Daily Consumption (kWh) |  |  |  |  | Summer
Qty # | Appliance | Power | Average |  | Total Winter | Comments
|  |  | Ave Run Time | Daily Energy | 6 months
|  | W | hr per day | kWh | 180 days (kWh)
Adjust Quantity |  | Adjust if required | Please adjust this column
Kitchen
1 | Efficient Fridge | 125 | 24 | 1.25 | 225 | As per Fridge Rating
1 | Microwave | 1200 | 0.2 | 0.24 | 43.2
1 | Toaster | 900 | 0.1 | 0.09 | 16.2
1 | Elec Kettle | 2400 | 0.1 | 0.24 | 43.2
0 | Elec Oven | 2000 | 0.5 | 0 |  | High consumption
4 | LED Lights | 10 | 5 | 0.2 | 36
Laundry & bathroom & Hot water
1 | Washing machine | 650 | 0.5 | 0.325 | 58.5 | High Surge load
1 | Water Pump (off-grid) | 1100 | 1.5 | 1.65 | 297 | High Surge load
4 | LED Lights | 6 | 1.5 | 0.036 | 6.48
Lounge/Entertainment
1 | TV LED | 100 | 4 | 0.4 | 72
1 | Computer Laptop | 45 | 4 | 0.18 | 32.4
1 | Modem | 8 | 24 | 0.192 | 34.56
0 | Reverse cycle A/C | 1250 | 3 | 0 |  | High consumption
6 | LED Lights | 10 | 4 | 0.24 | 43.2
Bedrooms
2 | LED Lights | 10 | 2 | 0.04 | 7.2
0 | LED Lights | 10 | 2 | 0 | 0
| TOTAL AC - Daily load |  |  | 5.083 | 914.94 | kWh per day
| Battery System Voltage = | 24 | V | 211.7917 |  | Ah used per day